## Introduction
CORIOLIX Metadata
Version: | 1.1 | (Dec 9, 2024)
The information requested in this workbook is required for the initial setup and configuration of CORIOLIX. Gathering these metadata in advance will help streamline CORIOLIX setup and configuration efforts. This workbook consists of the following sheets: Primary Vessel Contact Vessel Ports Sensor Form Instructions Sensor Form Parameter Form Instructions Parameter Form Dropdown Lists Questions may be directed to the RCRV Datapresence and Engineering Support Center (R-DESC) at r-desc@lists.oregonstate.edu.

## Primary Vessel Contact
CORIOLIX Metadata
Primary Vessel Contact
Primary Point of Contact Regarding CORIOLIX Sensor Metadata |  |  | Field Type | Example
| * | Full Name | text | John Doe
| * | Position Title | text | Marine Technician
| * | Email Address | text | john.doe@myorg.edu

## Vessel
CORIOLIX Metadata
Vessel
* Fields marked with an asterisk (*) are required.
Vessel |  |  |  | Field Type | Example | Description
| * | Vessel Type | NOAAS | dropdown | NOAAS | The vessel type. Choose from a dropdown list of options (RV, FV, etc.).
| * | Vessel Short Name |  | text (20 char max) | rhb | A short vessel identifier. Lowercase only. No spaces or special characters.
| * | Vessel Long Name |  | text (100 char max) | Ronald H. Brown | The full vessel name. Should be capitalized. May include spaces and hyphens.
| * | Operating Institution/Office |  | dropdown | NOAA OMAO MOC-A | The operating institution or office (e.g. NOAA OMAO MOC-A). Choose from a dropdown list.
| * | Operating Country/Area (e.g. USA) |  | text (100 char max) | World | The operating country (e.g. USA) or area (e.g. World)
| * | Home Port Name or City, State |  | text (100 char max) | Charleston, SC | The name of the vessel's home port.
| * | Home Port Latitude (decimal deg, +N) |  | float | 32.7846 | The latitude in decimal degrees (positive North) (e.g. 45.2356) of the vessel's home port.
| * | Home Port Longitude (decimal deg, +E) |  | float | -79.9239 | The longitude in decimal degrees (positive East) (e.g. -123.4528) of the vessel's home port.
| * | IMO |  | integer (7 digits) | 9105786 | The International Maritime Organization (IMO) ship identification number. A 7-digit number.
| * | MMSI |  | integer (9 digits) | 368996000 | The Maritime Mobile Service Identity (MMSI). A 9-digit number.
| * | ICES |  | text (4 chars) | 33RO | The International Council for the Exploration of the Sea (ICES) vessel code. A 4-character code (A-Z, 0-9).
| * | Call Sign/Letters |  | text (20 char max) | WTEC | The alphanumeric vessel call sign or call letters. May be a combination of capital letters and numbers.
|  | Hull Number |  | text (20 char max) | R104 | The hull classification symbol (e.g. R104). A character (R, S) followed by a number.
|  | Website |  | text (200 char max) | https://www.omao.noaa.gov/marine-operations/ships/ronald-h-brown | A URL for the vessel website, if applicable.
|  | Vessel length (m) |  | float | 83.5 | The overall vessel length (LOA) in meters.
|  | Vessel breadth (m) |  | float | 16 | The vessel breadth (beam) in meters.
|  | Vessel draft (m) |  | float | 5.8 | The vessel draft in meters.
|  | Vessel freeboard (m) |  | float | 1.9 | The vessel freeboard in meters.

## Ports
CORIOLIX Metadata
Ports (OPTIONAL)
The locations of frequently visited ports can be provided here.
It is recommended that the vessel's home port and other frequently visited ports and shipyards be listed here.
This list will be integrated into the CORIOLIX cruise chart and alerts.
Name of Port | A short but unique name for the location (e.g. "Newport OR")
Port Code | The UN/LOCODE port code (5 characters) (e.g. USNPO) (optional)
Latitude | The latitude in decimal degrees (positive North) (e.g. 45.2356)
Longitude | The longitude in decimal degrees (positive East) (e.g. -123.4528)
State | The state/province/region the port is located (e.g. Oregon) (optional)
Country Code | The 3-character country code (e.g. USA) where the port is located (ISO 3166-1 alpha-3) (optional)
Name of Port | Port Code | Latitude | Longitude | State | Country Code
| optional | decimal deg (+N) | decimal deg (+E) | optional | optional
(max 50 chars) | (5 chars) | float | float | (max 20 chars) | (max 3 chars)
Newport OR | USNPO | 45.2356 | -123.4528 | Oregon | USA

## Sensor Form Instructions
CORIOLIX Metadata
Sensor Form Instructions
Key metadata, such as the sensor make and model, must be provided when adding a sensor to CORIOLIX.
The sensor form may be used to temporarily record metadata information for each of the sensors on the vessel, prior to entering the information into CORIOLIX.
REQUIRED
CORIOLIX Sensor ID | A unique ID for the sensor, used internally by CORIOLIX. The format convention for this ID is to use 6 lowercase alpha characters (a-z) followed by 6 numbers (0-9) (e.g anemom000256). For the alpha characters, it is recommended that the text chosen in the "Sensor Prefix" dropdown be used. This is a descriptor of the sensor type (e.g. "transm" for transmissometer). For the numeric characters, it is recommended that the last 6 digits of the serial number be used (e.g. "003402" for S/N 3402, or "256091" for S/N AE 29-3602-5609-1).
Sensor Name | A short descriptive name for the sensor (e.g. Thermometer - Hull). This name will appear in drop-down lists and headings in CORIOLIX.
Sensor Class | The general class of instrument (navigation, atmospheric, flowthrough, over-the-side, centerboard, other). . A drop-down list is provided.
Sensor Type | The type of instrument, such as fluorometer or pyranometer. A drop-down list is provided of common instrument types.
Sensor Prefix | A short descriptor for the instrument type (e.g. anemom). A drop-down list is provided.
Vendor | The sensor vendor or manufacturer (e.g. SeaBird Electronics). A drop-down list is provided.
Model | The sensor model (e.g."WET Labs {Sea-Bird WETLabs} WETStar fluorometer") as listed in the NERC L22 SeaVoX Device Datalogue (https://vocab.nerc.ac.uk/collection/L22/current/). The "Search NVS" link may be used to search for the correct model term for the sensor. Use the text given as the "Preferred Label". Text must match exactly.
Serial Number | The sensor serial number.
Sensor Description | A generic description of the sensor, such as what it measures and how those measurements are made.
Use Level | This field is used to indicate whether the instrument is considered to be the primary or secondary data source when multiple sensors of the same type are operating.
Location on Vessel | The location on the vessel where the sensor is mounted when in use. A drop-down list of options is provided.
Orientation | The orientation of the sensor when in use. For example, "vertical up" indicates that that sensor is orientated vertically with the sensor facing up. A drop-down list is provided.
Zero Line Reference (degrees from bow) | (Anemometers only). When installed, the orientation of the zero line reference in degrees measured clockwise from the bow (e.g. 90 degrees points starboard).
Time Source | This field indicates the time source for the sensor data (vessel_time_server, GPS, none). A drop-down list is provided.
Native Sample Rate | The rate of sample data collection by the sensor in Hertz. This rate may be configurable on the sensor.
UDP Sample Rate | The rate at which the native sensor data are transmitted over the network as UDP packets (in Hertz).
UDP Broadcast IP | The IP range (e.g 192.168.2.1/24) over which the native sensor data are broadcast. This could be an individual IP address or a range of addresses.
UDP Broadcast Port | The destination port of the native sensor UDP data broadcast over the network (e.g. 10001).
Native Data Description | A description, in a few sentences, of the data provided by the sensor. For example: Measurements are provided from the sensor in volts. Data arrive uncalibrated and uncorrected.
Native Data Type | The generic native data format (e.g. binary). A drop-down list is provided.
Sample Data Message | A sample data message output from the sensor.
Message Regex Format | A regex message to parse the data message. Data Message Example: CST-1977DR 11531 15780 15783 -0.087 544 Message Regex Format Example: ['^CST-(\d+)DR\s+(?P<reference>\d+)\s+(?P<signal>\d+)\s+(?P<corrected>\d+)\s+(?P<transmittance>\-?\d+\.\d+)\s+(?P<thermistor>\d+)$'] The field name used in the regex format (e.g. "signal") should match the processing_symbol for a parameter associated with this sensor. A list of regex formats for common sensors can be found at this GitHub repo:
https://github.com/R-DESC/sensor_regex
Processing Script | The processing script to be used to post-process the data. A drop-down list of available sensor-specific processing scripts is provided.
Logging Modes | How to handle the data upon receipt (e.g. save to file only, or save to file and database). A dropdown list is provided.
Enabled | A true/false field indicating whether the sensor is installed and ready to transmit data to CORIOLIX.
Recommended Calibration Frequency (months) | The recommended calibration frequency of the sensor.
Last Calibration Date | The date the sensor was last calibrated.
OPTIONAL
Signal Type | Sensor signal delivery method (Analog, Digital, Derived)
Communication Type | Transmission type at the sensor (e.g. RS-232, ethernet). A drop-down list is provided.
Serial: Baud Rate | (Serial sensors only). A drop-down list is provided.
Serial: Parity | (Serial sensors only). A drop-down list is provided.
Serial: Stop Bits | (Serial sensors only). A drop-down list is provided.
Serial: Byte Size | (Serial sensors only). A drop-down list is provided.
Serial: Timeout (seconds) | (Serial sensors only)
Ethernet-enabled: MAC address | (Ethernet-enabled sensors only). MAC address of the sensor NIC or the device providing direct network access for the native sensor data. (AA:AA:AA:AA:AA:AA)
Ethernet-enabled: IP address | (Ethernet-enabled sensors only). IP address of the sensor NIC or the device providing network access for the native sensor data.
Ethernet-enabled: Ethernet Protocol | (Ethernet-enabled sensors only). UDP or TCP
Polled Starting Commands | (Polled sensors only). The polled starting commands are commands to be sent to the sensor every time the OpenRVDAS logger is restarted. For example, for a precipitation sensor, the command 'Z' tells the sensor to restart the precipitation accumulation to zero. Example polled starting commands: ['Z']
Polled Serial Commands | (Polled sensors only). The polled serial commands are sent to the sensor on every loop of the OpenRVDAS logger. These commands are required for sensors that only output data when they are sent a command. Example polled serial commands: ['__PAUSE__ 60', 'D']
Native File Path | (File-producing sensors only). Path to the sensor output data file, accessible from the OpenRVDAS server.
Native File Name | (File-producing sensors only). Filename convention of the sensor output data file to be read from. Should include wildcards (*).
Input Power: Minimum (volts) | The minimum input power the sensor requires.
Input Power: Maximum (volts) | The maximum input power the sensor requires.
Input Power: Ideal (volts) | The ideal input power the sensor prefers.
Input Power: Current Type | The input power type (AC/DC). A drop-down list is provided.
Current: Minimum (mA) | The minimum current the sensor uses.
Current: Maximum (mA) | The maximum current the sensor uses.
Reference Voltage (volts) | The reference voltage for the above min/max current values.
Analog Output: Minimum | (Analog sensors only). The minimum value that can be output by the sensor. Units are assigned in Units row below.
Analog Output: Maximum | (Analog sensors only). The maximum value that can be output by the sensor. Units are assigned in Units row below.
Analog Output: Units | (Analog sensors only). The units of the sensor (e.g. volts). A dropdown list is provided.
Operating Flow Rate: Minimum (ml/s) | (Flowthrough sensors only). The minimum flowrate required by the sensor.
Operating Flow Rate: Maximum (ml/s) | (Flowthrough sensors only). The maximum flowrate required by the sensor.
Operating Flow Rate: Ideal (ml/s) | (Flowthrough sensors only). The ideal flowrate for the sensor.
Operating Depth: Minimum (m) | The minimum depth rated for the sensor (e.g. 0).
Operating Depth: Maximum (m) | The maximum depth rated for the sensor (e.g. 200).
Operating Temperature: Minimum (Celsius) | The minimum operating temperature recommended for the sensor.
OperatingTemperature: Maximum (Celsius) | The maximum operating temperature recommended for the sensor.
Lamp Life (days) | (Optical sensors only). Lamp life of the bulb before replacement is recommended.
Measurement Response Time (s) | Instrument response time.
Additional Time Offset (s) | An additional time offset to be subtracted from the data receipt time to reflect the true data collection time.
Owner | The sensor owner. A dropdown list is provided.
Responsible Party | The group responsible for the maintenance and operation of the sensor. A dropdown list is provided.
Purchase Date | The date the instrument was purchased.
Acquire Date | The date the instrument was acquired (if not purchased).
Acquire Condition | The physical state of the sensor when acquired. A dropdown list is provided.
End Date | The date the sensor was lost/sold/surplussed/damaged etc.
Current Location | The current physical location of the sensor (e.g. on loan). A dropdown list is provided.
Current Status | The current status of the sensor (e.g. calibration in progress). A dropdown list is provided.
Physical Condition | The current physical condition of the sensor (e.g. inoperable). A dropdown list is provided.
Physical Condition Details | A description of the physical condition of the sensor (e.g. Includes Tiffen #25 red filter.).
Physical Configuration | A description of the current physical configuration of the sensor.
Software Version | The version of firmware/software installed on the sensor (if applicable).
Software Configuration | Details of the sensor software configuration.
Location Coordinates (x,y,z) | The x,y,z coordinates of the sensor when installed on the vessel.
Bow Distance (meters) | When installed, the distance of the sensor from the foremost point of the vessel above the waterline, as measured in a line parallel to the centerline. Always positive.
Centerline Distance (meters) | When installed, the distance of the sensor from the centerline as measured perpendicular to the centerline. Negative values are to port, positive values are to starboard.
Waterline Distance (meters) | When installed, the distance of the sensor above/below the mean waterline. Negative values are below the surface, positive values are above the surface.
Filtered Water Source | (Flowthrough only). Select TRUE if the water is filtered.
Ship to Shore: Message Rate (Hz) | The rate of data to transmit from ship to shore. May be the same or slower than the native data rate.
Ship Network: Message Rate (Hz) | The rate the data are transmitted across the ship network. May be the same or slower than the native data rate.
Ship Network: Broadcast IP Address | The broadcast IP address used to deliver the processed sensor data across the ship network.
Ship Network: Destination Port | The destination port of the processed sensor data delivered across the ship network.
Ship Network: Packet Size (bytes) | The size in bytes of each processed sensor data message packet delivered across the ship network.
Maintenance A: Description | A short descriptive title for a set of routine maintenance procedures (e.g. Change Filter)
Maintenance A: Recommended Frequency (days) | The frequency (in days) at which maintenance task A should be performed, if applicable.
Maintenance A: Perform Pre-cruise | Select TRUE if maintenance A should be performed prior to every cruise.
Maintenance A: Perform Post-cruise | Select TRUE if maintenance A should be performed after every cruise.
Maintenance A: Last Date Performed | The last date that maintenance A was performed.
Recommended Replacement Date | The date it is recommended that the sensor be replaced.
Warranty End Date | The end warranty date for the sensor.

## Sensor Form
CORIOLIX Metadata
Sensor Form
Key metadata, such as the sensor make and model, must be provided when adding a sensor to CORIOLIX.
This form may be used to record metadata information for each of the sensors on the vessel.
Metadata definitions are available on the "Sensor Form Instructions" sheet.
|  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55 | 56 | 57 | 58 | 59 | 60 | 61 | 62 | 63 | 64 | 65 | 66 | 67 | 68 | 69 | 70 | 71 | 72 | 73 | 74 | 75 | 76 | 77 | 78 | 79 | 80 | 81 | 82 | 83 | 84 | 85 | 86 | 87 | 88 | 89 | 90 | 91 | 92 | 93 | 94 | 95 | 96 | 97 | 98 | 99 | 100 | 101 | 102 | 103 | 104 | 105 | 106 | 107 | 108 | 109 | 110 | 111 | 112 | 113 | 114 | 115 | 116 | 117 | 118 | 119 | 120 | 121 | 122 | 123 | 124 | 125 | 126 | 127 | 128 | 129 | 130 | 131 | 132 | 133 | 134 | 135 | 136 | 137 | 138 | 139 | 140 | 141 | 142 | 143 | 144 | 145 | 146 | 147 | 148 | 149 | 150 | 151 | 152 | 153 | 154 | 155 | 156 | 157 | 158 | 159 | 160 | 161 | 162 | 163 | 164 | 165 | 166 | 167 | 168 | 169 | 170 | 171 | 172 | 173 | 174 | 175 | 176 | 177 | 178 | 179 | 180 | 181 | 182 | 183 | 184 | 185 | 186 | 187 | 188 | 189 | 190 | 191 | 192 | 193 | 194 | 195 | 196 | 197 | 198 | 199 | 200
REQUIRED | CORIOLIX Sensor ID | text (20 chars max, unique)
REQUIRED | Sensor Name | text (50 chars max)
REQUIRED | Sensor Class | dropdown
REQUIRED | Sensor Type | dropdown
REQUIRED | Sensor Prefix | dropdown
REQUIRED | Vendor | text (50 chars max)
REQUIRED | Model (NERC L22 device name) | text (200 chars max)
REQUIRED | Serial Number | text (50 chars max)
REQUIRED | Sensor Description | text
REQUIRED | Use Level | dropdown
REQUIRED | Location on Vessel When Installed | dropdown
REQUIRED | Orientation | dropdown
REQUIRED | Zero Line Reference (degrees from bow) | float
REQUIRED | Time Source | dropdown
REQUIRED | Native Sample Rate (Hz) | float
REQUIRED | UDP Sample Rate (Hz) | float
REQUIRED | UDP Broadcast IP | text (20 chars max)
REQUIRED | UDP Broadcast Port | integer
REQUIRED | Native Data Description | text
REQUIRED | Native Data Type | dropdown
REQUIRED | Sample Data Message | text
REQUIRED | Message Regex Format | text
REQUIRED | Processing Script | dropdown
REQUIRED | Logging Modes | dropdown
REQUIRED | Enabled | dropdown
REQUIRED | Recommended Calibration Frequency (months) | integer
REQUIRED | Last Calibration Date | date
OPTIONAL | Signal Type | dropdown
OPTIONAL | Communication Type | dropdown
OPTIONAL | Serial: Baud Rate | dropdown
OPTIONAL | Serial: Parity | dropdown
OPTIONAL | Serial: Stop Bits | dropdown
OPTIONAL | Serial: Byte Size | dropdown
OPTIONAL | Serial: Timeout (seconds) | float
OPTIONAL | Polled Starting Commands | text
OPTIONAL | Polled Serial Commands | text
OPTIONAL | Ethernet-enabled: MAC address (AA:AA:AA:AA:AA:AA) | text (17 chars max)
OPTIONAL | Ethernet-enabled: IP address | text (15 chars max)
OPTIONAL | Ethernet-enabled: Ethernet Protocol | dropdown
OPTIONAL | Native File Path | text (255 chars max)
OPTIONAL | Native File Name | text (255 chars max)
OPTIONAL | Input Power: Minimum (volts) | float
OPTIONAL | Input Power: Maximum (volts) | float
OPTIONAL | Input Power: Ideal (volts) | float
OPTIONAL | Input Power: Current Type (AC/DC) | dropdown
OPTIONAL | Current: Minimum (mA) | float
OPTIONAL | Current: Maximum (mA) | float
OPTIONAL | Reference Voltage (volts) | float
OPTIONAL | Analog Output: Minimum | integer
OPTIONAL | Analog Output: Maximum | integer
OPTIONAL | Analog Output: Units | dropdown
OPTIONAL | Operating Flow Rate: Minimum (ml/s) | float
OPTIONAL | Operating Flow Rate: Maximum (ml/s) | float
OPTIONAL | Operating Flow Rate: Ideal (ml/s) | float
OPTIONAL | Operating Depth: Minimum (m) | integer
OPTIONAL | Operating Depth: Maximum (m) | integer
OPTIONAL | Operating Temperature: Minimum (Celsius) | integer
OPTIONAL | OperatingTemperature: Maximum (Celsius) | integer
OPTIONAL | Lamp Life (days) | integer
OPTIONAL | Measurement Response Time (s) | float
OPTIONAL | Additional Time Offset (s) | float
OPTIONAL | Owner | dropdown
OPTIONAL | Responsible Party | dropdown
OPTIONAL | Purchase Date | date
OPTIONAL | Acquire Date | date
OPTIONAL | Acquire Condition | dropdown
OPTIONAL | End Date | date
OPTIONAL | Current Location | dropdown
OPTIONAL | Current Status | dropdown
OPTIONAL | Physical Condition | dropdown
OPTIONAL | Physical Condition Details | text
OPTIONAL | Physical Configuration | text
OPTIONAL | Software Version | text (50 chars max)
OPTIONAL | Software Configuration | text (200 chars max)
OPTIONAL | Location Coordinates (x, y, z) | text (75 chars max)
OPTIONAL | Bow Distance (meters) | float
OPTIONAL | Centerline Distance (meters) | float
OPTIONAL | Waterline Distance (meters) | float
OPTIONAL | Filtered Water Source | dropdown
OPTIONAL | Ship to Shore: Message Rate (Hz) | float
OPTIONAL | Ship Network: Message Rate (Hz) | float
OPTIONAL | Ship Network: Broadcast IP Address | text (20 chars max)
OPTIONAL | Ship Network: Destination Port | integer
OPTIONAL | Ship Network: Packet Size (bytes) | integer
OPTIONAL | Maintenance A: Description | text (50 chars max)
OPTIONAL | Maintenance A: Recommended Frequency (days) | integer
OPTIONAL | Maintenance A: Perform Pre-cruise | dropdown
OPTIONAL | Maintenance A: Perform Post-cruise | dropdown
OPTIONAL | Maintenance A: Last Date Performed | date
OPTIONAL | Maintenance B: Description | text (50 chars max)
OPTIONAL | Maintenance B: Recommended Frequency (days) | integer
OPTIONAL | Maintenance B: Perform Pre-cruise | dropdown
OPTIONAL | Maintenance B: Perform Post-cruise | dropdown
OPTIONAL | Maintenance B: Last Date Performed | date
OPTIONAL | Maintenance C: Description | text (50 chars max)
OPTIONAL | Maintenance C: Recommended Frequency (days) | integer
OPTIONAL | Maintenance C: Perform Pre-cruise | dropdown
OPTIONAL | Maintenance C: Perform Post-cruise | dropdown
OPTIONAL | Maintenance C: Last Date Performed | date
OPTIONAL | Recommended Replacement Date | date
OPTIONAL | Warranty End Date | date

## Parameter Form Instructions
CORIOLIX Metadata
Parameter Form Instructions
Each sensor provides data for one or more parameters (e.g. TSG provides temperature, salinity, and conductivity).
Please use the Parameter Form to record the metadata for each parameter.
REQUIRED
CORIOLIX Sensor ID |  | The unique CORIOLIX sensor ID. A dropdown of Sensor IDs derived from the contents of the "Sensor Form" sheet is provided.
Parameter Long Name |  | A clear, descriptive name for the parameter (e.g. "Hull Thermometer Temperature"). This name will be used for page headings, documentation, and plot line labels.
Parameter Short Name |  | A shorter, recognizable name for the parameter (e.g. SST) to be used on figure axes and column headers.
Parameter Standard Name |  | The NERC P01 standard name for the parameter. A searchable list of standard names can be found at the links below.
|  | NERC P01 Vocabulary | NERC Search Tool
Processing Symbol |  | The identifier used in the processing code to reference this parameter.
Processing Status |  | The processing status of the parameter indicating whether this raw output from the sensor or post-processed. A dropdown list of options is provided.
Diagnostic |  | A true/false field indicating whether the parameter is for diagnostic use only (e.g. internal temperature).
IOOS Category |  | The parameter category as described by the IOOS Category. A dropdown list of options is provided.
Units |  | The parameter units (in abbreviated form) using the UDUNITS-2 convention. A dropdown list of common units is provided.
Measurement Convention |  | If applicable, the convention used for the measurement (e.g. positive up). A dropdown list of options is provided.
Data Type |  | The data type (e.g. double, float, boolean, ...). A drop-down list of options is provided.
Data Field |  | The CORIOLIX table and column to store the data for this particular parameter. A drop-down list of options is provided. Only one parameter may be assigned to each database column.
Bin Type |  | The type of calculations to use to derived temporally binned data values. A dropdown list to choose from is provided. A description of the available options can be found below.
Bin Field |  | The CORIOLIX table and column to store the binned data. Five bin tables are available (flow, met, nav, wind, other). A drop-down list of options is provided. Only one parameter may be assigned to each database column. If this cell is empty, no binning will be performed for this parameter.
Display Format |  | The format to be used for numeric values when displayed by CORIOLIX. For example, "f6.4" will display a float with 4 decimal places. For integers, use something like "f6.0".
OPTIONAL
Lower Detection Limit |  | For parameters with a lower limit of zero, such as cholorophyll concentration, this is the minimum value detectable by the sensor that can be distinguished from zero.
Saturated Value |  | The value that indicates that the sensor detector was saturated. This occurs when the signal being measured is larger than the dynamic range of the sensor.
Bad Data Value |  | The value output from the sensor that indicates that the measurement was invalid (e.g. -999).
Resolution |  | The resolution of the sensor. This is the smallest change the sensor can detect.
Accuracy |  | The measurement accuracy of this parameter. It describes how close the reported value is to the true value being measured.
Precision |  | The measurement precision of this parameter. It describes how close repeated values are when measuring the same sample. Examples: 0.1, 0.001, 0.0001.
Gross Min |  | The minimum value the sensor is able to output. This value is used to flag suspect data.
Gross Max |  | The maximum value the sensor is able to output. This value is used to flag suspect data.
Recommended Min |  | The recommended minimum value per the manufacturer or community. This value is used to flag suspect data.
Recommended Max |  | The recommended maximum value per the manufacturer or community. This value is used to flag suspect data.
Global Min |  | The minimum value likely to be found globally. This value is used to flag suspect data.
Global Max |  | The maximum value likely to be found globally. This value is used to flag suspect data.
Local Min |  | The minimum value likely to be found in the current region of operations.
Local Max |  | The maximum value likely to be found in the current region of operations.
Parameter Description |  | Optional. A description of the parameter. This should include a definition of the parameter and may also include details about how the measurement is made by the sensor.
Units
Parameter units are formatted using the UDUNITS-2 convention.
Example | Units (Long Form) | Units (Abbreviated)
Example 1: | meters per second | m s-1
Example 2: | hectopascals | hPa
Example 3: | kilometers per hour | km hour-1
Commonly-used unit components are listed below. Please visit the provided links for a complete list.
SI Unit Prefixes | tera (T), giga (G), mega (M), kilo (k), hecto (h), deci (d), centi (c), milli (m), micro (u), nano (n), pico (p)
SI Base Units | meter (m), kilogram (kg), second (s), ampere (A), kelvin (K), mole (mol)
SI Derived Units | radian (rad), steradian (sr), hertz (Hz), gram (g), pascal (Pa), watt (W), volt (V), ohm (O), degree_Celsius (degree_C), siemens (S)
SI Accepted Units | minute, hour, day, degree, liter (l), nautical_mile, knot, bar
Non-SI Units | percent (%), parts per million (ppm), count, bit, einstein, degree_north, degree_south, degree_east, degree_west, degree_true, atmosphere (atm)
Additional Units | decibel (dB)
NOTE: Salinity is considered dimensionless (units should be left blank).
Bin Type
The type of calculations to use to derive temporally binned data values.
spot | The instantaneous value collected closest to the center of the bin interval. Returns the value and time.
linear | Unweighted mean over all values in the bin interval. Returns the mean and associated statistics.
circular | Circular mean over all values in the bin interval. Intended for parameters measured in degrees (0-360) such as heading. Returns the mean and associated statistics.
vector | Vector average of all vectors in the bin interval. Uses the averaged vector components to derive the final vector. Intended for parameters with a magnitude and direction such as wind. Returns the mean and associated statistics.

## Parameter Form
CORIOLIX Metadata
Required Parameter Information
Each sensor provides data for one or more parameters (e.g. temperature and salinity).
Please use this form to record the metadata for each parameter.
Metadata definitions are available on the "Parameter Form Instructions" sheet.
|  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55 | 56 | 57 | 58 | 59 | 60 | 61 | 62 | 63 | 64 | 65 | 66 | 67 | 68 | 69 | 70 | 71 | 72 | 73 | 74 | 75 | 76 | 77 | 78 | 79 | 80 | 81 | 82 | 83 | 84 | 85 | 86 | 87 | 88 | 89 | 90 | 91 | 92 | 93 | 94 | 95 | 96 | 97 | 98 | 99 | 100 | 101 | 102 | 103 | 104 | 105 | 106 | 107 | 108 | 109 | 110 | 111 | 112 | 113 | 114 | 115 | 116 | 117 | 118 | 119 | 120 | 121 | 122 | 123 | 124 | 125 | 126 | 127 | 128 | 129 | 130 | 131 | 132 | 133 | 134 | 135 | 136 | 137 | 138 | 139 | 140 | 141 | 142 | 143 | 144 | 145 | 146 | 147 | 148 | 149 | 150 | 151 | 152 | 153 | 154 | 155 | 156 | 157 | 158 | 159 | 160 | 161 | 162 | 163 | 164 | 165 | 166 | 167 | 168 | 169 | 170 | 171 | 172 | 173 | 174 | 175 | 176 | 177 | 178 | 179 | 180 | 181 | 182 | 183 | 184 | 185 | 186 | 187 | 188 | 189 | 190 | 191 | 192 | 193 | 194 | 195 | 196 | 197 | 198 | 199 | 200
REQUIRED | CORIOLIX Sensor ID | dropdown
REQUIRED | Parameter Long Name | text (100 chars max)
REQUIRED | Parameter Short Name | text (30 chars max)
REQUIRED | Parameter Standard Name | NERC Search Tool
REQUIRED | Processing Symbol | text (50 chars max)
REQUIRED | Processing Status | dropdown
REQUIRED | Diagnostic | dropdown
REQUIRED | IOOS Category | dropdown
REQUIRED | Units | dropdown
REQUIRED | Measurement Convention | dropdown
REQUIRED | Data Type | dropdown
REQUIRED | Data Field must be unique | dropdown
REQUIRED | Bin Type | dropdown
REQUIRED | Bin Field must be unique | dropdown
REQUIRED | Display Format | text (20 chars max)
OPTIONAL | Lower Detection Limit | float
OPTIONAL | Saturated Value | float
OPTIONAL | Bad Data Value | float
OPTIONAL | Resolution | float
OPTIONAL | Accuracy | float
OPTIONAL | Precision | float
OPTIONAL | Gross Min | float
OPTIONAL | Gross Max | float
OPTIONAL | Recommended Min | float
OPTIONAL | Recommended Max | float
OPTIONAL | Global Min | float
OPTIONAL | Global Max | float
OPTIONAL | Local Min | float
OPTIONAL | Local Max | float
OPTIONAL | Parameter Description | text

## DropdownLists
DropDown Lists
These read-only lists are used by other sheets in this workbook to populate the drop-down options.
The cells in orange may be modified as needed.
Vessel | Vessel | Yes/No | Sensor | Sensor | Sensor | Sensor | Sensor | Sensor | Sensor | Parameter | Parameter | Parameter | Parameter | Parameter | Sensor | Sensor | Sensor | Sensor | Sensor | Sensor | Sensor | Sensor | Sensor | Sensor | Sensor | Sensor | Sensor | Sensor | Parameter | Sensor | Sensor | Sensor | Parameter | Parameter | Sensor
Type | Operating Office |  | Prefix | Class | Type | Use Level | Vessel Location | Orientation | Time Source | Data Type | IOOS Category | Bin Type | Data Field | Bin Field | Signal Type | Comm Type | Baud Rate | Parity | Stop Bits | Byte Size | Ethernet Protocol | Native Data Type | Analog Units | Owner | Responsible Party | Current Location | Current Status | Condition | Units | Boolean | Power Current Type | Processing Script | Convention | Processing Status | Logging Mode
BA | NOAA OMAO MOC-A | Yes | adcp | Navigation | ADCP | primary | Not Applicable | horizontal | local_time_server | byte | Bathymetry | spot | sensor_float_1: float: p1 | binned_default_flow_rolling: parameter_01 | Analog | Voltage | 110 | N | 1 | 5 | tcp | text | Millivolts | other | other | installed | in use | excellent |  | TRUE | AC | NoTransformation | degrees (+N/-S) | raw | off
BC | NOAA OMAO MOC-P | No | aisnav | Atmospheric | Altimeter | secondary | Other | horizontal fwd | internet_time_server | ubyte | Biology | linear | sensor_float_1: float: p2 | binned_default_flow_rolling: parameter_02 | Digital | Current | 300 | E | 1.5 | 6 | udp | binary | Volts | NOAA | NOAA Marine Technicians | on vessel | not in use | good | degrees_C | FALSE | DC | ACS | degrees (-N/+S) | internally derived | stderr
CA | NOAA OMAO MOC-PI | Unknown | altim | Flowthrough | Anemometer | spare | Above Main Lab | horizontal aft | RTC | short | Bottom Character | circular | sensor_float_1: float: p3 | binned_default_flow_rolling: parameter_03 | Derived | Frequency | 600 | O | 2 | 7 |  |  | Milliamps |  |  | in storage | calibration in progress | poor | K |  |  | Anemo2D | degrees (+W/-E) | externally sourced | udp
CG |  |  | anem2d | OverTheSide | Barometer |  | Above Pilothouse | horizontal port | GPS | ushort | CO2 | vector | sensor_float_1: float: p4 | binned_default_flow_rolling: parameter_04 |  | RS-232 | 1200 | M |  | 8 |  |  | Hertz |  |  | repair/calibration | maintenance in progress | inoperable | S/m |  |  | Anemo3D | degrees (-W/+E) | post processed | file
CS |  |  | anem3d | Sonar | Camera |  | Back Deck | horizontal stbd | none | int | Colored Dissolved Organic Matter |  | sensor_float_1: float: p5 | binned_default_flow_rolling: parameter_05 |  | RS-422 | 2400 | S | [7 empty] | in transit | repair in progress | obsolete | uatm |  |  | APG | positive up | post processed with ancillary data | file/udp
DR |  |  | autofl | Hull-Mount | Ceilometer |  | Baltic Room | vertical |  | uint | Contaminants |  | sensor_float_1: float: p6 | binned_default_flow_rolling: parameter_06 |  | RS-485 | 4800 | [8 empty] | on loan | testing in progress | unknown | atm |  |  | CStar | positive down |  | file/db
FE |  |  | barom | Other | Conductivity |  | Bow | vertical up |  | long | Currents |  | sensor_float_1: float: p7 | binned_default_flow_rolling: parameter_07 |  | Modbus | 9600 | [8 empty] | no longer in possession | unavailable | not applicable | hPa |  |  | ecotripletbb3 | positive port side up |  | file/udp/db
FP |  |  | camera |  | CTD |  | Bridge | vertical down |  | ulong | Dissolved Nutrients |  | sensor_float_1: float: p8 | binned_default_flow_rolling: parameter_08 |  | USB | 14400 | [8 empty] | lost |  |  | kPa |  |  | ecotripletbb2fl | positive port side down
FV |  |  | celcsv |  | Derived |  | Bunkroom | other |  | float | Dissolved O2 |  | sensor_float_2: float: p1 | binned_default_flow_rolling: parameter_09 |  | Ethernet | 19200 | [11 empty] | dbar |  |  | ecotripletbbfl2 | positive bow up
GC |  |  | celudp |  | Flowmeter |  | Centerboard | varies |  | double | Ecology |  | sensor_float_2: float: p2 | binned_default_flow_rolling: parameter_10 |  | SSH | 38400 | [11 empty] | mbar |  |  | ecotripletfl3 | positive bow down
GT |  |  | celprf |  | Fluorometer |  | CTD Rosette | not applicable |  | boolean | Fish Abundance |  | sensor_float_2: float: p3 | binned_default_flow_rolling: parameter_11 |  | File | 57600 | [11 empty] | kg/m3 |  |  | Flowmeter | positive yaw clockwise
IC |  |  | conduc |  | Gas Analyzer |  | CTD Rosette - Spare |  |  | char | Fish Species |  | sensor_float_2: float: p4 | binned_default_flow_rolling: parameter_12 |  | None | 115200 | [11 empty] | torr |  |  | G2401 | positive yaw counterclockwise
LC |  |  | ctdalt |  | GNSS |  | Flowthrough |  |  | String | Heat Flux |  | sensor_float_2: float: p5 | binned_default_flow_rolling: parameter_13 |  |  | 128000 | [11 empty] | W/m2 |  |  | HyperOCR
LT |  |  | ctdcon |  | Gravimeter |  | Forward Intake |  |  |  | Hydrology |  | sensor_float_2: float: p6 | binned_default_flow_rolling: parameter_14 |  |  | 256000 | [11 empty] | uW/cm2/nm |  |  | LISST
LV |  |  | ctdgen |  | Gyrocompass |  | Hull |  |  |  | Ice Distribution |  | sensor_float_2: float: p7 | binned_default_flow_rolling: parameter_15 | [14 empty] | uE/cm2/s |  |  | MetWXT
MI |  |  | ctdoxy |  | HDSS |  | Main Lab |  |  |  | Identifier |  | sensor_float_2: float: p8 | binned_default_flow_rolling: parameter_16 | [14 empty] | uE/m2/s |  |  | pCO2
MS |  |  | ctdph |  | Hygrometer |  | Main Manifold |  |  |  | Location |  | sensor_float_3: float: p1 | binned_default_flow_rolling: parameter_17 | [14 empty] | 1/m |  |  | PTU
NOAAS |  |  | ctdtem |  | INS |  | Main Mast |  |  |  | Meteorology |  | sensor_float_3: float: p2 | binned_default_flow_rolling: parameter_18 | [14 empty] | 1/m/sr |  |  | QCP2350
OW |  |  | flowmt |  | Magnetometer |  | Met Mast - Bow |  |  |  | Ocean Color |  | sensor_float_3: float: p3 | binned_default_flow_rolling: parameter_19 | [14 empty] | mW |  |  | QSP2350
PI |  |  | fluoro |  | Met Station |  | Met Mast - Stbd |  |  |  | Optical Properties |  | sensor_float_3: float: p4 | binned_default_flow_rolling: parameter_20 | [14 empty] | W |  |  | QCR2150
PS |  |  | atmgas |  | Multibeam Sonar |  | Met Mast - Port |  |  |  | Pathogens |  | sensor_float_3: float: p5 | binned_default_flow_rolling: parameter_21 | [14 empty] | ml |  |  | QSR2150
RF |  |  | gnss |  | Nitrate |  | Port Side |  |  |  | Physical Oceanography |  | sensor_float_3: float: p6 | binned_default_flow_rolling: parameter_22 | [14 empty] | l |  |  | ROSR
RR |  |  | gravim |  | Oxygen Sensor |  | Starboard Side |  |  |  | Phytoplankton Species |  | sensor_float_3: float: p7 | binned_default_flow_rolling: parameter_23 | [14 empty] | ug/l |  |  | SBE43
RS |  |  | gyroco |  | PAR Meter |  | Wet Lab |  |  |  | Pressure |  | sensor_float_3: float: p8 | binned_default_flow_rolling: parameter_24 | [14 empty] | mg/l |  |  | SeaFETV2
RV |  |  | hdss |  | pCO2 | [5 empty] | Productivity |  | sensor_float_4: float: p1 | binned_default_flow_rolling: parameter_25 | [14 empty] | ul/l |  |  | Seapath
SA |  |  | hygrom |  | pH | [5 empty] | Quality |  | sensor_float_4: float: p2 | binned_default_flow_rolling: parameter_26 | [14 empty] | ml/l |  |  | SGR4
SV |  |  | ins |  | Particle Size Analyzer | [5 empty] | Salinity |  | sensor_float_4: float: p3 | binned_default_flow_rolling: parameter_27 | [14 empty] | umol/l |  |  | SMP21
TR |  |  | magnet |  | Pressure | [5 empty] | Sea Level |  | sensor_float_4: float: p4 | binned_default_flow_rolling: parameter_28 | [14 empty] | A |  |  | SUNAV2
TU |  |  | metstn |  | PTU | [5 empty] | Statistics |  | sensor_float_4: float: p5 | binned_default_flow_rolling: parameter_29 | [14 empty] | V |  |  | WETStar
VC |  |  | snrmlt |  | Pyranometer | [5 empty] | Stream Flow |  | sensor_float_4: float: p6 | binned_default_flow_rolling: parameter_30 | [14 empty] | O
YA |  |  | nitrat |  | Pyrgeometer | [5 empty] | Surface Waves |  | sensor_float_4: float: p7 | binned_default_flow_rolling: parameter_31 | [14 empty] | mA
Other |  |  | oxygen |  | Pump | [5 empty] | Taxonomy |  | sensor_float_4: float: p8 | binned_default_flow_rolling: parameter_32 | [14 empty] | mV
|  |  | parqcp |  | Radiometer | [5 empty] | Temperature |  | sensor_float_5: float: p1 | binned_default_flow_rolling: parameter_33 | [14 empty] | mO
|  |  | parqcr |  | Rain Gauge | [5 empty] | Time |  | sensor_float_5: float: p2 | binned_default_flow_rolling: parameter_34 | [14 empty] | degrees
|  |  | parqsp |  | Scatterometer | [5 empty] | Total Suspended Matter |  | sensor_float_5: float: p3 | binned_default_flow_rolling: parameter_35 | [14 empty] | degree_true
|  |  | parqsr |  | Singlebeam Sonar | [5 empty] | Wind |  | sensor_float_5: float: p4 | binned_default_flow_rolling: parameter_36 | [14 empty] | degrees_north
|  |  | pcotwo |  | Spectrophotometer | [5 empty] | Zooplankton Abundance |  | sensor_float_5: float: p5 | binned_default_flow_rolling: parameter_37 | [14 empty] | degrees_south
|  |  | ph |  | Speed Log | [5 empty] | Zooplankton Species |  | sensor_float_5: float: p6 | binned_default_flow_rolling: parameter_38 | [14 empty] | degrees_east
|  |  | partic |  | Splitbeam Sonar | [5 empty] | Other |  | sensor_float_5: float: p7 | binned_default_flow_rolling: parameter_39 | [14 empty] | degrees_west
|  |  | precip |  | SSV | [5 empty] | Unknown |  | sensor_float_5: float: p8 | binned_default_flow_rolling: parameter_40 | [14 empty] | nautical_miles
|  |  | pyrano |  | Thermometer, Air | [7 empty] | sensor_float_6: float: p1 | binned_default_met_rolling: parameter_01 | [14 empty] | um
|  |  | pyrgeo |  | Thermometer, Water | [7 empty] | sensor_float_6: float: p2 | binned_default_met_rolling: parameter_02 | [14 empty] | nm
|  |  | pump |  | Time Server | [7 empty] | sensor_float_6: float: p3 | binned_default_met_rolling: parameter_03 | [14 empty] | mm
|  |  | hyprad |  | Transmissometer | [7 empty] | sensor_float_6: float: p4 | binned_default_met_rolling: parameter_04 | [14 empty] | m
|  |  | rain |  | TSG | [7 empty] | sensor_float_6: float: p5 | binned_default_met_rolling: parameter_05 | [14 empty] | km
|  |  | scatt |  | Wave Radar | [7 empty] | sensor_float_6: float: p6 | binned_default_met_rolling: parameter_06 | [14 empty] | mm/hr
|  |  | sctflr |  | Weather | [7 empty] | sensor_float_6: float: p7 | binned_default_met_rolling: parameter_07 | [14 empty] | cm/s
|  |  | ssst |  | Winch | [7 empty] | sensor_float_6: float: p8 | binned_default_met_rolling: parameter_08 | [14 empty] | m/s
|  |  | snrsng |  | Combination | [7 empty] | sensor_float_7: float: p1 | binned_default_met_rolling: parameter_09 | [14 empty] | km/hr
|  |  | spectr |  | Other | [7 empty] | sensor_float_7: float: p2 | binned_default_met_rolling: parameter_10 | [14 empty] | knots
|  |  | spdlog | [9 empty] | sensor_float_7: float: p3 | binned_default_met_rolling: parameter_11 | [14 empty] | ml/minute
|  |  | snrspt | [9 empty] | sensor_float_7: float: p4 | binned_default_met_rolling: parameter_12 | [14 empty] | cm3/minute
|  |  | ssv | [9 empty] | sensor_float_7: float: p5 | binned_default_met_rolling: parameter_13 | [14 empty] | l/minute
|  |  | therma | [9 empty] | sensor_float_7: float: p6 | binned_default_met_rolling: parameter_14 | [14 empty] | degrees/minute
|  |  | thermw | [9 empty] | sensor_float_7: float: p7 | binned_default_met_rolling: parameter_15 | [14 empty] | t
|  |  | timesv | [9 empty] | sensor_float_7: float: p8 | binned_default_met_rolling: parameter_16 | [14 empty] | day
|  |  | transm | [9 empty] | sensor_integer_1: integer: p1 | binned_default_met_rolling: parameter_17 | [14 empty] | hour
|  |  | tsg | [9 empty] | sensor_integer_1: integer: p2 | binned_default_met_rolling: parameter_18 | [14 empty] | minute
|  |  | wavrad | [9 empty] | sensor_integer_1: integer: p3 | binned_default_met_rolling: parameter_19 | [14 empty] | s
|  |  | weathr | [9 empty] | sensor_integer_1: integer: p4 | binned_default_met_rolling: parameter_20 | [14 empty] | %
|  |  | winch | [9 empty] | sensor_integer_1: integer: p5 | binned_default_met_rolling: parameter_21 | [14 empty] | ppm
[13 empty] | sensor_integer_1: integer: p6 | binned_default_met_rolling: parameter_22 | [14 empty] | ppb
[13 empty] | sensor_integer_1: integer: p7 | binned_default_met_rolling: parameter_23 | [14 empty] | counts
[13 empty] | sensor_integer_1: integer: p8 | binned_default_met_rolling: parameter_24 | [14 empty] | bits
[13 empty] | sensor_mixed_1: datetime: p1 | binned_default_met_rolling: parameter_25 | [14 empty] | mol
[13 empty] | sensor_mixed_1: datetime: p2 | binned_default_met_rolling: parameter_26 | [14 empty] | mmol
[13 empty] | sensor_mixed_1: float: p3 | binned_default_met_rolling: parameter_27 | [14 empty] | umol
[13 empty] | sensor_mixed_1: float: p4 | binned_default_met_rolling: parameter_28 | [14 empty] | nmol
[13 empty] | sensor_mixed_1: float: p5 | binned_default_met_rolling: parameter_29 | [14 empty] | other
[13 empty] | sensor_mixed_1: float: p6 | binned_default_met_rolling: parameter_30
[13 empty] | sensor_mixed_1: float: p7 | binned_default_met_rolling: parameter_31
[13 empty] | sensor_mixed_1: float: p8 | binned_default_met_rolling: parameter_32
[13 empty] | sensor_mixed_1: float: p9 | binned_default_met_rolling: parameter_33
[13 empty] | sensor_mixed_1: float: p10 | binned_default_met_rolling: parameter_34
[13 empty] | sensor_mixed_1: integer: p11 | binned_default_met_rolling: parameter_35
[13 empty] | sensor_mixed_1: integer: p12 | binned_default_met_rolling: parameter_36
[13 empty] | sensor_mixed_1: integer: p13 | binned_default_met_rolling: parameter_37
[13 empty] | sensor_mixed_1: integer: p14 | binned_default_met_rolling: parameter_38
[13 empty] | sensor_mixed_1: integer: p15 | binned_default_met_rolling: parameter_39
[13 empty] | sensor_mixed_1: integer: p16 | binned_default_met_rolling: parameter_40
[13 empty] | sensor_mixed_1: integer: p17 | binned_default_nav_rolling: parameter_01
[13 empty] | sensor_mixed_1: integer: p18 | binned_default_nav_rolling: parameter_02
[13 empty] | sensor_mixed_1: point: p19 | binned_default_nav_rolling: parameter_03
[13 empty] | sensor_mixed_1: point: p20 | binned_default_nav_rolling: parameter_04
[13 empty] | sensor_mixed_1: char200: p21 | binned_default_nav_rolling: parameter_05
[13 empty] | sensor_mixed_1: char200: p22 | binned_default_nav_rolling: parameter_06
[13 empty] | sensor_mixed_1: char200: p23 | binned_default_nav_rolling: parameter_07
[13 empty] | sensor_mixed_1: char200: p24 | binned_default_nav_rolling: parameter_08
[13 empty] | sensor_mixed_2: datetime: p1 | binned_default_nav_rolling: parameter_09
[13 empty] | sensor_mixed_2: datetime: p2 | binned_default_nav_rolling: parameter_10
[13 empty] | sensor_mixed_2: float: p3 | binned_default_nav_rolling: parameter_11
[13 empty] | sensor_mixed_2: float: p4 | binned_default_nav_rolling: parameter_12
[13 empty] | sensor_mixed_2: float: p5 | binned_default_nav_rolling: parameter_13
[13 empty] | sensor_mixed_2: float: p6 | binned_default_nav_rolling: parameter_14
[13 empty] | sensor_mixed_2: float: p7 | binned_default_nav_rolling: parameter_15
[13 empty] | sensor_mixed_2: float: p8 | binned_default_nav_rolling: parameter_16
[13 empty] | sensor_mixed_2: float: p9 | binned_default_nav_rolling: parameter_17
[13 empty] | sensor_mixed_2: float: p10 | binned_default_nav_rolling: parameter_18
[13 empty] | sensor_mixed_2: integer: p11 | binned_default_nav_rolling: parameter_19
[13 empty] | sensor_mixed_2: integer: p12 | binned_default_nav_rolling: parameter_20
[13 empty] | sensor_mixed_2: integer: p13 | binned_default_nav_rolling: parameter_21
[13 empty] | sensor_mixed_2: integer: p14 | binned_default_nav_rolling: parameter_22
[13 empty] | sensor_mixed_2: integer: p15 | binned_default_nav_rolling: parameter_23
[13 empty] | sensor_mixed_2: integer: p16 | binned_default_nav_rolling: parameter_24
[13 empty] | sensor_mixed_2: integer: p17 | binned_default_nav_rolling: parameter_25
[13 empty] | sensor_mixed_2: integer: p18 | binned_default_nav_rolling: parameter_26
[13 empty] | sensor_mixed_2: point: p19 | binned_default_nav_rolling: parameter_27
[13 empty] | sensor_mixed_2: point: p20 | binned_default_nav_rolling: parameter_28
[13 empty] | sensor_mixed_2: char200: p21 | binned_default_nav_rolling: parameter_29
[13 empty] | sensor_mixed_2: char200: p22 | binned_default_nav_rolling: parameter_30
[13 empty] | sensor_mixed_2: char200: p23 | binned_default_nav_rolling: parameter_31
[13 empty] | sensor_mixed_2: char200: p24 | binned_default_nav_rolling: parameter_32
[13 empty] | sensor_mixed_3: datetime: p1 | binned_default_nav_rolling: parameter_33
[13 empty] | sensor_mixed_3: datetime: p2 | binned_default_nav_rolling: parameter_34
[13 empty] | sensor_mixed_3: float: p3 | binned_default_nav_rolling: parameter_35
[13 empty] | sensor_mixed_3: float: p4 | binned_default_nav_rolling: parameter_36
[13 empty] | sensor_mixed_3: float: p5 | binned_default_nav_rolling: parameter_37
[13 empty] | sensor_mixed_3: float: p6 | binned_default_nav_rolling: parameter_38
[13 empty] | sensor_mixed_3: float: p7 | binned_default_nav_rolling: parameter_39
[13 empty] | sensor_mixed_3: float: p8 | binned_default_nav_rolling: parameter_40
[13 empty] | sensor_mixed_3: float: p9 | binned_default_wind_rolling: parameter_01
[13 empty] | sensor_mixed_3: float: p10 | binned_default_wind_rolling: parameter_02
[13 empty] | sensor_mixed_3: integer: p11 | binned_default_wind_rolling: parameter_03
[13 empty] | sensor_mixed_3: integer: p12 | binned_default_wind_rolling: parameter_04
[13 empty] | sensor_mixed_3: integer: p13 | binned_default_wind_rolling: parameter_05
[13 empty] | sensor_mixed_3: integer: p14 | binned_default_wind_rolling: parameter_06
[13 empty] | sensor_mixed_3: integer: p15 | binned_default_wind_rolling: parameter_07
[13 empty] | sensor_mixed_3: integer: p16 | binned_default_wind_rolling: parameter_08
[13 empty] | sensor_mixed_3: integer: p17 | binned_default_wind_rolling: parameter_09
[13 empty] | sensor_mixed_3: integer: p18 | binned_default_wind_rolling: parameter_10
[13 empty] | sensor_mixed_3: point: p19 | binned_default_wind_rolling: parameter_11
[13 empty] | sensor_mixed_3: point: p20 | binned_default_wind_rolling: parameter_12
[13 empty] | sensor_mixed_3: char200: p21 | binned_default_wind_rolling: parameter_13
[13 empty] | sensor_mixed_3: char200: p22 | binned_default_wind_rolling: parameter_14
[13 empty] | sensor_mixed_3: char200: p23 | binned_default_wind_rolling: parameter_15
[13 empty] | sensor_mixed_3: char200: p24 | binned_default_wind_rolling: parameter_16
[13 empty] | sensor_mixlg_1: datetime: pt01 | binned_default_wind_rolling: parameter_17
[13 empty] | sensor_mixlg_1: datetime: pt02 | binned_default_wind_rolling: parameter_18
[13 empty] | sensor_mixlg_1: float: pf01 | binned_default_wind_rolling: parameter_19
[13 empty] | sensor_mixlg_1: float: pf02 | binned_default_wind_rolling: parameter_20
[13 empty] | sensor_mixlg_1: float: pf03 | binned_default_wind_rolling: parameter_21
[13 empty] | sensor_mixlg_1: float: pf04 | binned_default_wind_rolling: parameter_22
[13 empty] | sensor_mixlg_1: float: pf05 | binned_default_wind_rolling: parameter_23
[13 empty] | sensor_mixlg_1: float: pf06 | binned_default_wind_rolling: parameter_24
[13 empty] | sensor_mixlg_1: float: pf07 | binned_default_wind_rolling: parameter_25
[13 empty] | sensor_mixlg_1: float: pf08 | binned_default_wind_rolling: parameter_26
[13 empty] | sensor_mixlg_1: float: pf09 | binned_default_wind_rolling: parameter_27
[13 empty] | sensor_mixlg_1: float: pf10 | binned_default_wind_rolling: parameter_28
[13 empty] | sensor_mixlg_1: float: pf11 | binned_default_wind_rolling: parameter_29
[13 empty] | sensor_mixlg_1: float: pf12 | binned_default_wind_rolling: parameter_30
[13 empty] | sensor_mixlg_1: float: pf13 | binned_default_wind_rolling: parameter_31
[13 empty] | sensor_mixlg_1: float: pf14 | binned_default_wind_rolling: parameter_32
[13 empty] | sensor_mixlg_1: float: pf15 | binned_default_wind_rolling: parameter_33
[13 empty] | sensor_mixlg_1: float: pf16 | binned_default_wind_rolling: parameter_34
[13 empty] | sensor_mixlg_1: float: pf17 | binned_default_wind_rolling: parameter_35
[13 empty] | sensor_mixlg_1: float: pf18 | binned_default_wind_rolling: parameter_36
[13 empty] | sensor_mixlg_1: float: pf19 | binned_default_wind_rolling: parameter_37
[13 empty] | sensor_mixlg_1: float: pf20 | binned_default_wind_rolling: parameter_38
[13 empty] | sensor_mixlg_1: integer: pi01 | binned_default_wind_rolling: parameter_39
[13 empty] | sensor_mixlg_1: integer: pi02 | binned_default_wind_rolling: parameter_40
[13 empty] | sensor_mixlg_1: integer: pi03 | binned_default_other_rolling: parameter_01
[13 empty] | sensor_mixlg_1: integer: pi04 | binned_default_other_rolling: parameter_02
[13 empty] | sensor_mixlg_1: integer: pi05 | binned_default_other_rolling: parameter_03
[13 empty] | sensor_mixlg_1: integer: pi06 | binned_default_other_rolling: parameter_04
[13 empty] | sensor_mixlg_1: integer: pi07 | binned_default_other_rolling: parameter_05
[13 empty] | sensor_mixlg_1: integer: pi08 | binned_default_other_rolling: parameter_06
[13 empty] | sensor_mixlg_1: integer: pi09 | binned_default_other_rolling: parameter_07
[13 empty] | sensor_mixlg_1: integer: pi10 | binned_default_other_rolling: parameter_08
[13 empty] | sensor_mixlg_1: integer: pi11 | binned_default_other_rolling: parameter_09
[13 empty] | sensor_mixlg_1: integer: pi12 | binned_default_other_rolling: parameter_10
[13 empty] | sensor_mixlg_1: integer: pi13 | binned_default_other_rolling: parameter_11
[13 empty] | sensor_mixlg_1: integer: pi14 | binned_default_other_rolling: parameter_12
[13 empty] | sensor_mixlg_1: integer: pi15 | binned_default_other_rolling: parameter_13
[13 empty] | sensor_mixlg_1: integer: pi16 | binned_default_other_rolling: parameter_14
[13 empty] | sensor_mixlg_1: integer: pi17 | binned_default_other_rolling: parameter_15
[13 empty] | sensor_mixlg_1: integer: pi18 | binned_default_other_rolling: parameter_16
[13 empty] | sensor_mixlg_1: integer: pi19 | binned_default_other_rolling: parameter_17
[13 empty] | sensor_mixlg_1: integer: pi20 | binned_default_other_rolling: parameter_18
[13 empty] | sensor_mixlg_1: char200: pc01 | binned_default_other_rolling: parameter_19
[13 empty] | sensor_mixlg_1: char200: pc02 | binned_default_other_rolling: parameter_20
[13 empty] | sensor_mixlg_1: char200: pc03 | binned_default_other_rolling: parameter_21
[13 empty] | sensor_mixlg_1: char200: pc04 | binned_default_other_rolling: parameter_22
[13 empty] | sensor_mixlg_1: char200: pc05 | binned_default_other_rolling: parameter_23
[13 empty] | sensor_mixlg_1: char200: pc06 | binned_default_other_rolling: parameter_24
[13 empty] | sensor_mixlg_1: char200: pc07 | binned_default_other_rolling: parameter_25
[13 empty] | sensor_mixlg_1: char200: pc08 | binned_default_other_rolling: parameter_26
[13 empty] | sensor_mixlg_1: char200: pc09 | binned_default_other_rolling: parameter_27
[13 empty] | sensor_mixlg_1: char200: pc10 | binned_default_other_rolling: parameter_28
[13 empty] | sensor_mixlg_1: text: pj01 | binned_default_other_rolling: parameter_29
[13 empty] | sensor_mixlg_1: text: pj02 | binned_default_other_rolling: parameter_30
[13 empty] | sensor_mixlg_1: point: pp01 | binned_default_other_rolling: parameter_31
[13 empty] | sensor_mixlg_1: point: pp02 | binned_default_other_rolling: parameter_32
binned_default_other_rolling: parameter_33
binned_default_other_rolling: parameter_34
binned_default_other_rolling: parameter_35
binned_default_other_rolling: parameter_36
binned_default_other_rolling: parameter_37
binned_default_other_rolling: parameter_38
binned_default_other_rolling: parameter_39
binned_default_other_rolling: parameter_40